## Instruction
Declaration of Liability: Rohde & Schwarz provides this conversion tool to their TS-EMF customers for the conversion of transducer factors. Rohde & Schwarz
does not accept any liability for application errors made in using the tables or errors which are generated by other software residing on the PC of the user or settings
of the latter. With the application of these EXCEL-sheets the user commits himself to an adequate verification of the conversion results prior to further usage.
Important Hint: This application uses a Macro. If macros execution is locally disabled, results will be wrong !
Format conversion of TS-EMF Antenna Factor (AF) tables to FSH Transducer tables and reduction of table entries
Background:
Transducer tables of the FSH require a specific format and only allow 60 entries . The antenna factor tables of the Tri-Axis Sensor of the TS-EMF (30 MHz - 3GHz)
have to be reduced to a maximum of 60 entries and converted for use with the FSH.
Function:
This EXCEL sheet calculates the logarithmic interpolation of AF values for f n+1 from the AF entries for the frequencies fn and f n+2 . The interpolated values are
compared to the actual value. The frequency with the smallest deviation of interpolation is indicated and has to be deleted until the table contains max 60 entries.
For less than 60 entries, no rows have to be deleted and the sheet can be used for conversion, only.
Instruction:
1. Open the file containing the antenna data of the TS-EMFsensor with a text editor.
2. Copy the columns Frequency and Antenna Factor from the antenna file to sheet "Input" of this EXCEL application, starting at field D12 (!).
3. Komma or point can be used as decimal separator. The frequencies must be entered in MHz.
A number format with thousand-separator is not allowed !
4. The entries for R&S SerialNo, RSEMF30-SerialNo, Axis and Variant (02, 03 or 13) have to be filled in the respective cells.
5. The field "Minimum Interpolation Error" shows a result.
6. The field "Status" shows whether the table already contains less than 60 entries or whether another row has to be deleted.
The line below indicates which frequency point has to be deleted.
7. At the indicated frequency, the complete row has to be deleted (mark row, then use menu point "edit --> delete cells" or the mouse context menu)
8. Repeat step 7 until the status shows "DONE".
The maximum frequency of the table (usually 3 GHz) is now in the row marked with "entry No. 60" .
9. Copy data on sheet "Output" to a text file and save it under the filename as shown in the instruction on that sheet.
10. Repeat all steps before for the other axes of the antenna
Hints / Known Issues:
The individual sheets and the file are (write-) protected to make sure that it is always available in the configuration. Screen resolution min. 1024 x 768 Pixel.
If the table contains less than 60 values, the grafics shows a line from the last value back to the point of origin.
Version 1.0 Date 15.01.2007

## Input
| R&S SerNo |  |  | RSEMF30-
| Axis (X/Y/Z) |  |  | Variant | Punkt
| minimum interpolation error |  |  |  | 0
| status |  | #REF!
| #REF! |  | #REF!
|  | freq | AF | interpol error
enter data from here |  |  |  | #REF! | Calculation!F12
|  |  |  | #REF! | Calculation!F13
|  |  |  | #REF! | Calculation!F14
|  |  |  | #REF! | Calculation!F15
|  |  |  | #REF! | Calculation!F16
|  |  |  | #REF! | Calculation!F17
|  |  |  | #REF! | Calculation!F18
|  |  |  | #REF! | Calculation!F19
|  |  |  | #REF! | Calculation!F20
|  |  |  | #REF! | Calculation!F21
|  |  |  | #REF! | Calculation!F22
|  |  |  | #REF! | Calculation!F23
|  |  |  | #REF! | Calculation!F24
|  |  |  | #REF! | Calculation!F25
|  |  |  | #REF! | Calculation!F26
|  |  |  | #REF! | Calculation!F27
|  |  |  | #REF! | Calculation!F28
|  |  |  | #REF! | Calculation!F29
|  |  |  | #REF! | Calculation!F30
|  |  |  | #REF! | Calculation!F31
|  |  |  | #REF! | Calculation!F32
|  |  |  | #REF! | Calculation!F33
|  |  |  | #REF! | Calculation!F34
|  |  |  | #REF! | Calculation!F35
|  |  |  | #REF! | Calculation!F36
|  |  |  | #REF! | Calculation!F37
|  |  |  | #REF! | Calculation!F38
|  |  |  | #REF! | Calculation!F39
|  |  |  | #REF! | Calculation!F40
|  |  |  | #REF! | Calculation!F41
|  |  |  | #REF! | Calculation!F42
|  |  |  | #REF! | Calculation!F43
|  |  |  | #REF! | Calculation!F44
|  |  |  | #REF! | Calculation!F45
|  |  |  | #REF! | Calculation!F46
|  |  |  | #REF! | Calculation!F47
|  |  |  | #REF! | Calculation!F48
|  |  |  | #REF! | Calculation!F49
|  |  |  | #REF! | Calculation!F50
|  |  |  | #REF! | Calculation!F51
|  |  |  | #REF! | Calculation!F52
|  |  |  | #REF! | Calculation!F53
|  |  |  | #REF! | Calculation!F54
|  |  |  | #REF! | Calculation!F55
|  |  |  | #REF! | Calculation!F56
|  |  |  | #REF! | Calculation!F57
|  |  |  | #REF! | Calculation!F58
|  |  |  | #REF! | Calculation!F59
|  |  |  | #REF! | Calculation!F60
|  |  |  | #REF! | Calculation!F61
|  |  |  | #REF! | Calculation!F62
|  |  |  | #REF! | Calculation!F63
|  |  |  | #REF! | Calculation!F64
|  |  |  | #REF! | Calculation!F65
|  |  |  | #REF! | Calculation!F66
|  |  |  | #REF! | Calculation!F67
|  |  |  | #REF! | Calculation!F68
|  |  |  | #REF! | Calculation!F69
|  |  |  | #REF! | Calculation!F70
| entry no 60 |  |  | #REF! | Calculation!F71
|  |  |  | #REF! | Calculation!F72
|  |  |  | #REF! | Calculation!F73
|  |  |  | #REF! | Calculation!F74
|  |  |  | #REF! | Calculation!F75
|  |  |  | #REF! | Calculation!F76
|  |  |  | #REF! | Calculation!F77
|  |  |  | #REF! | Calculation!F78
|  |  |  | #REF! | Calculation!F79
|  |  |  | #REF! | Calculation!F80
|  |  |  | #REF! | Calculation!F81
|  |  |  | #REF! | Calculation!F82
|  |  |  | #REF! | Calculation!F83
|  |  |  | #REF! | Calculation!F84
|  |  |  | #REF! | Calculation!F85
|  |  |  | #REF! | Calculation!F86
|  |  |  | #REF! | Calculation!F87
|  |  |  | #REF! | Calculation!F88
|  |  |  | #REF! | Calculation!F89
|  |  |  | #REF! | Calculation!F90
|  |  |  | #REF! | Calculation!F91
|  |  |  | #REF! | Calculation!F92
|  |  |  | #REF! | Calculation!F93
|  |  |  | #REF! | Calculation!F94
|  |  |  | #REF! | Calculation!F95
|  |  |  | #REF! | Calculation!F96
|  |  |  | #REF! | Calculation!F97
|  |  |  | #REF! | Calculation!F98
|  |  |  | #REF! | Calculation!F99
|  |  |  | #REF! | Calculation!F100
|  |  |  | #REF! | Calculation!F101
|  |  |  | #REF! | Calculation!F102
|  |  |  | #REF! | Calculation!F103
|  |  |  | #REF! | Calculation!F104
|  |  |  | #REF! | Calculation!F105
|  |  |  | #REF! | Calculation!F106
|  |  |  | #REF! | Calculation!F107
|  |  |  | #REF! | Calculation!F108
|  |  |  | #REF! | Calculation!F109
|  |  |  | #REF! | Calculation!F110
|  |  |  | #REF! | Calculation!F111
|  |  |  | #REF! | Calculation!F112
40
Note on I3: Den letzten Teil der RSEMF30-Nummer hier eingeben (Z.B. 12-06-100023 oder 44-03-44)
Note on I4: Variante 02, 03 oder 13

## Output
Transducer Name,TS-EMF__
Description,Variant.//
Unit,dBuV/m | Copy the data on the left including header lines into a text file
#REF!
#REF! | Save the text files as
#REF!
#REF! | TS-EMF_100###_X.rst | for the X-Axis
#REF! | TS-EMF_100###_Y.rst | for the Y-Axis
#REF! | TS-EMF_100###_Z.rst | for the Z-Axis
#REF!
#REF! | (100### is the serial number of the antenna)
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!

## Calculation (hidden)
[7 empty] | Dezimal-trennzeichen EXCEL | Punkt | 0
| Freq | AF | Abweichung (dB) | Interpol Log |  |  |  |  | Dezimaltrennzeichen
1 | #REF! | #REF! |  | #REF! | Input!D12 | Input!E12 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
2 | #REF! | #REF! | 1000 | #REF! | Input!D13 | Input!E13 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
3 | #REF! | #REF! | 1000 | #REF! | Input!D14 | Input!E14 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
4 | #REF! | #REF! | 1000 | #REF! | Input!D15 | Input!E15 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
5 | #REF! | #REF! | 1000 | #REF! | Input!D16 | Input!E16 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
6 | #REF! | #REF! | 1000 | #REF! | Input!D17 | Input!E17 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
7 | #REF! | #REF! | 1000 | #REF! | Input!D18 | Input!E18 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
8 | #REF! | #REF! | 1000 | #REF! | Input!D19 | Input!E19 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
9 | #REF! | #REF! | 1000 | #REF! | Input!D20 | Input!E20 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
10 | #REF! | #REF! | 1000 | #REF! | Input!D21 | Input!E21 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
11 | #REF! | #REF! | 1000 | #REF! | Input!D22 | Input!E22 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
12 | #REF! | #REF! | 1000 | #REF! | Input!D23 | Input!E23 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
13 | #REF! | #REF! | 1000 | #REF! | Input!D24 | Input!E24 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
14 | #REF! | #REF! | 1000 | #REF! | Input!D25 | Input!E25 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
15 | #REF! | #REF! | 1000 | #REF! | Input!D26 | Input!E26 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
16 | #REF! | #REF! | 1000 | #REF! | Input!D27 | Input!E27 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
17 | #REF! | #REF! | 1000 | #REF! | Input!D28 | Input!E28 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
18 | #REF! | #REF! | 1000 | #REF! | Input!D29 | Input!E29 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
19 | #REF! | #REF! | 1000 | #REF! | Input!D30 | Input!E30 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
20 | #REF! | #REF! | 1000 | #REF! | Input!D31 | Input!E31 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
21 | #REF! | #REF! | 1000 | #REF! | Input!D32 | Input!E32 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
22 | #REF! | #REF! | 1000 | #REF! | Input!D33 | Input!E33 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
23 | #REF! | #REF! | 1000 | #REF! | Input!D34 | Input!E34 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
24 | #REF! | #REF! | 1000 | #REF! | Input!D35 | Input!E35 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
25 | #REF! | #REF! | 1000 | #REF! | Input!D36 | Input!E36 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
26 | #REF! | #REF! | 1000 | #REF! | Input!D37 | Input!E37 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
27 | #REF! | #REF! | 1000 | #REF! | Input!D38 | Input!E38 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
28 | #REF! | #REF! | 1000 | #REF! | Input!D39 | Input!E39 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
29 | #REF! | #REF! | 1000 | #REF! | Input!D40 | Input!E40 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
30 | #REF! | #REF! | 1000 | #REF! | Input!D41 | Input!E41 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
31 | #REF! | #REF! | 1000 | #REF! | Input!D42 | Input!E42 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
32 | #REF! | #REF! | 1000 | #REF! | Input!D43 | Input!E43 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
33 | #REF! | #REF! | 1000 | #REF! | Input!D44 | Input!E44 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
34 | #REF! | #REF! | 1000 | #REF! | Input!D45 | Input!E45 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
35 | #REF! | #REF! | 1000 | #REF! | Input!D46 | Input!E46 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
36 | #REF! | #REF! | 1000 | #REF! | Input!D47 | Input!E47 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
37 | #REF! | #REF! | 1000 | #REF! | Input!D48 | Input!E48 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
38 | #REF! | #REF! | 1000 | #REF! | Input!D49 | Input!E49 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
39 | #REF! | #REF! | 1000 | #REF! | Input!D50 | Input!E50 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
40 | #REF! | #REF! | 1000 | #REF! | Input!D51 | Input!E51 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
41 | #REF! | #REF! | 1000 | #REF! | Input!D52 | Input!E52 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
42 | #REF! | #REF! | 1000 | #REF! | Input!D53 | Input!E53 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
43 | #REF! | #REF! | 1000 | #REF! | Input!D54 | Input!E54 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
44 | #REF! | #REF! | 1000 | #REF! | Input!D55 | Input!E55 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
45 | #REF! | #REF! | 1000 | #REF! | Input!D56 | Input!E56 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
46 | #REF! | #REF! | 1000 | #REF! | Input!D57 | Input!E57 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
47 | #REF! | #REF! | 1000 | #REF! | Input!D58 | Input!E58 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
48 | #REF! | #REF! | 1000 | #REF! | Input!D59 | Input!E59 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
49 | #REF! | #REF! | 1000 | #REF! | Input!D60 | Input!E60 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
50 | #REF! | #REF! | 1000 | #REF! | Input!D61 | Input!E61 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
51 | #REF! | #REF! | 1000 | #REF! | Input!D62 | Input!E62 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
52 | #REF! | #REF! | 1000 | #REF! | Input!D63 | Input!E63 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
53 | #REF! | #REF! | 1000 | #REF! | Input!D64 | Input!E64 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
54 | #REF! | #REF! | 1000 | #REF! | Input!D65 | Input!E65 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
55 | #REF! | #REF! | 1000 | #REF! | Input!D66 | Input!E66 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
56 | #REF! | #REF! | 1000 | #REF! | Input!D67 | Input!E67 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
57 | #REF! | #REF! | 1000 | #REF! | Input!D68 | Input!E68 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
58 | #REF! | #REF! | 1000 | #REF! | Input!D69 | Input!E69 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
59 | #REF! | #REF! | 1000 | #REF! | Input!D70 | Input!E70 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
60 | #REF! | #REF! | 1000 | #REF! | Input!D71 | Input!E71 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D72 | Input!E72 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D73 | Input!E73 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D74 | Input!E74 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D75 | Input!E75 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D76 | Input!E76 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D77 | Input!E77 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D78 | Input!E78 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D79 | Input!E79 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D80 | Input!E80 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D81 | Input!E81 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D82 | Input!E82 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D83 | Input!E83 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D84 | Input!E84 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D85 | Input!E85 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D86 | Input!E86 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D87 | Input!E87 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D88 | Input!E88 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D89 | Input!E89 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D90 | Input!E90 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D91 | Input!E91 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D92 | Input!E92 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D93 | Input!E93 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D94 | Input!E94 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D95 | Input!E95 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D96 | Input!E96 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D97 | Input!E97 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D98 | Input!E98 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D99 | Input!E99 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D100 | Input!E100 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D101 | Input!E101 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D102 | Input!E102 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D103 | Input!E103 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D104 | Input!E104 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D105 | Input!E105 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D106 | Input!E106 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D107 | Input!E107 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D108 | Input!E108 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D109 | Input!E109 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D110 | Input!E110 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D111 | Input!E111 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
| #REF! | #REF! | 1000 | #REF! | Input!D112 | Input!E112 | #REF! | #REF! | Ohne | Ohne | #REF! | #REF!
FREQ | Abweichung (dB)
#VALUE!